## Sheet1
Campus | Building Name | Building Number | Start Date | Finish Date | Start Time (am/pm) | Finish Time (am/pm) | Disruption / Works type | Additional Notes
St Lucia | Sir Llew Edwards Building | 14 | 2022-02-02 | 2022-02-02 | 7am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 0.5 hour during this time. Fire doors may close during test. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests.
St Lucia | Uq Centre | 27A | 2022-02-02 | 2022-02-02 | 7am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 0.5 hour during this time. Fire doors may close during test. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests.
St Lucia | Colin Clark Building | 39 | 2022-02-02 | 2022-02-02 | 7am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 0.5 hour during this time. Fire doors may close during test. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests.
St Lucia | John Hines Building | 62 | 2022-02-02 | 2022-02-02 | 7am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 0.5 hour during this time. Fire doors may close during test. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests.
St Lucia | Chemistry Building | 68 | 2022-02-02 | 2022-02-02 | 7am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 0.5 hour during this time. Fire doors may close during test. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests.
Remote | Customs House | 500B | 2022-02-03 | 2022-02-03 | 10am | 2pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 1 hour during this time. Fire doors may close during test. We expect, the impact will be minimal The system will return to normal after testing. There will be no tones during tests, unless monthly test are conducted at this time
St Lucia | Advanced Engineering Building | 49 | 2022-02-03 | 2022-02-03 | 7:30am | 10:30am | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 2 hour during this time. Fire doors may close during test. We expect, the impact will be minimal The system will return to normal after testing. There will be no tones during tests, unless monthly test are conducted at this time
Herston | Oral health Centre | 883 | 2022-02-07 | 2022-02-07 | 7am | 10:30am | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 2 hour during this time. Fire doors may close during test. Gas System may be affected however isolation should be in place to stop this. The impact will be minimal. The system will return to normal after testing. There will be no tones during tests, unless monthly test are conducted at this time
Herston | Mayne Medical School | 881 | 2022-02-07 | 2022-02-07 | 10:30am | 12:30pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 1 hour during this time. Fire doors may close during test. We expect, the impact will be minimal The system will return to normal after testing. There will be no tones during tests, unless monthly test are conducted at this time
Herston | Public Health Building | 887 | 2022-02-07 | 2022-02-07 | 12:30pm | 2:30pm | fire/HVAC/Fire doors | The Design of the Air Condition system is to stop during a fire alarm. Technicians will need to inspect the units to ensure they act as designed. The systems should only be off for a maximum of 1 hour during this time. Fire doors may close during test. We expect, the impact will be minimal The system will return to normal after testing. There will be no tones during tests, unless monthly test are conducted at this time